## Slide 1: Update on Management of Refractory Overactive bladder: Nerve stimulation
Sakineh Hajebrahimi, MD
Professor of Urology & Neurourology Department, Research center for EBM, TUMS, Tabriz, Iran

## Slide 2: Terminology
Overactive bladder (OAB)
  A symptomatic diagnosis defined as urinary urgency, usually with daytime frequency or/and nocturia with urinary incontinence(OAB wet), or without(OAB dry), in the absence of urinary infection or any other detectable disease.
Haylen BT, et al. Neurourol Urodyn. 2010;29:4-20.
Sahai A, et al. Expert Opin Pharmacother. 2006;7(5):509-527.
Q
pdet
pves
pabd
Detrusor overactivity (DO) A urodynamic observation characterized by involuntary
detrusor contractions (IDC) during the filling phase
Neurogenic OAB and DO
NLUTD

## Slide 3: Treatment Priority
1. Protection of the upper urinary tract
2. Improvement of urinary continence
3. Restoration of (parts of) the LUT function
4. Improvement of the patient’s quality of life.

## Slide 4: Current treatments for Overactive Bladder
Behavioral therapies & Physical Therapy
Drugs: anticholinergic, B3- Agonists
Minimally invasive interventions
  Intravesical Botox
  Neurostimulation: Sacral, PTNS
Surgery
  Augmentaton cystoplasty
  Urinary diversion
AUA/SUFU OAB Guidelines 2019
EAU Female LUTS Guideline 2021
Notes: [Overview of Voiding Dysfunction, Slides 4-11]
Treatment plan moves from non-invasive (behavioral), to minimally invasive (electrical stimulation), to highly invasive (surgery).
First choice of treatment should be least invasive with fewest potential complications.
Behavioral techniques include toileting assistance, bladder retraining, pelvic muscle rehabilitation, and dietary changes (AHCPR, 1996).
Behavioral techniques may decrease the frequency of urge incontinence when provided by knowledgeable health care providers, have no reported side effects, and do not limit future treatment options.
Pharmacologic treatments for urge incontinence and urgency-frequency can include anticholinergic agents, tricyclic antidepressants, antispasmodic agents and antimuscarinic agents.
Interventional therapies for urgency-frequency include instillation; vaginal and anal external stimulation and InterStim® test stimulation.
Surgery can include: InterStim® Therapy (sacral nerve stimulation); augmentation enterocystoplasty or urinary diversion; bladder dennervation.
NAFC – National Association for Continence (patient advocacy group).

## Slide 5: EAU Female LUTS Guideline 2021

## Slide 7: How Likely Are Patients To Continue With Their Drug Therapy?
Prescription persistency rates of OAB medications
among patients new to market (n=21,362)
56% of patients chose not to refill their prescription a second time
Only 15% of patient continued with their therapy through the first year

## Slide 8: Nerve Stimulations

## Slide 9
Percutaneous Tibial Nerve Stimulation

## Slide 10: PTNS: SUmiT Trial
Study of Urgent PC vs Sham Effectiveness of Treatment of Overactive Bladder Symptoms
Improvement in global response assessment (GRA)
  PTNS vs sham: 58.3 vs 21.9%
Response at 12 weeks, not at 6 weeks
Improved QOL, frequency, urgency, UUI, nocturia
Peters KM, et al.: J Urol 2010;183(4):1438-43.

## Slide 11: OrBIT trial
Overactive Bladder Innovative Therapy
PTNS versus tolterodine1
Improvement per GRA:
  79.5% vs 54.8%
PTNS vs solifenacin with cross over2
  Bladder specific assessment
  Both groups showed improvement
1Peters KM, et al.: J Urol 2009;182(3):1055-61.
2Veccioli-Scaldazza C, et al.: Gyneocol Obstet Invest 2013;75(4):230-4.

## Slide 12: STEP Study results
At 36 months 77% had sustained moderate/marked improvement1
  All domains tested
Over 36 months, average 1.1 treatments/month
OrBIT phase 2 similar carryover noted2
1Peters KM, et al.: J Urol;189(6):2194-2201.
2MacDiarmad SA, et al.: J Urol 2010;183(1):234-40.

## Slide 13: TIBIAL NERVE IMPLANTS (TTNS)

## Slide 14: Day time frequency and incontinence episodes
Hajebrahimi et al, 2021

## Slide 15
we can conclude the ideal implant is not yet found. Demonstration of the safety and efficacy on the long-term and in larger scale trials is needed
Tibial nerve stimulation in the treatment of overactive bladder syndrome: technical features of latest applications
te Dorsthorst, Manon; van Balken, Michael; Heesakkers, John
Current Opinion in Urology30(4):513-518, July 2020.
doi: 10.1097/MOU.0000000000000781

## Slide 16: SACRAL NEUROMODULATION

## Slide 17: EAU Female LUTS Guideline 2021

## Slide 18: SNM - Therapy
Definition:
  An implantable system that stimulates the sacral nerves modulating the neural reflexes that influence the bladder, sphincter, and pelvic floor.
Notes:   Sacral nerve stimulation utilizes an implantable system that stimulates the sacral nerves modulating the neural reflexes that influence the bladder, sphincter and the pelvic floor. There are specific FDA approved indications for the use of sacral nerve stimulation therapy, such as non-obstructive urinary retention urinary retention and the symptoms of overactive bladder, including urinary urge incontinence and significant symptoms of urgency frequency in patients who have failed or can not tolerate more conservative therapies.

## Slide 19: Mechanism of Action
Not a bladder specific therapy
Central afferent modulation
  Targets reflex centers in cord and pons
Treats both OAB and retention
  Blocks ascending sensory pathway inputs
Turns on voiding reflexes by suppressing the guarding reflex pathways
Leng WW - Urol Clin North Am - 01-FEB-2005; 32(1): 11-8

## Slide 20: All inclusive!!!
Urinary retention
Overactive bladder (OAB),
Painful bladder syndrome
Fecal incontinence
Sexual function improves
Quality of life improves
Psychosocial outlook
  Depression improves
  Optimism is not a predictor of success
Long-term safety in Medicare beneficiaries
Banakhar, 2014
Chungtai, 2014, Levin 2014

## Slide 21
Our experience

## Slide 22
This meta-analysis supports not only the beneﬁts of permanent SNM for various nLUTDs but also high overall success rates, similar to idiopathic patients in over 20 Years’ Experience
Arndt van Ophoven et al 2021
Siddiqui NY, et al.: J Urol 2009;186:2799.
Chartier-Kastler, et al.: BJU Int 2007;101:417

## Slide 23: Adverse events
Siddiqui NY, et al.: J Urol 2009;186:2799.
Arndt van Ophoven et al 2021

## Slide 24
The FDA's approval of Axonics Sacral Neuromodulation System—a system that is MRI-compatible. The FDA has approved the system to treat overactive bladder syndrome as well as fecal incontinence (for similar uses as InterStim from Medtronic).

## Slide 25: Cumulative 3-year costs
Treatment | Cost (US $)
PTNS | 7,565
OnabotulinumtoxinA | 11,748
Interstim® | 24,681
Vaginal POP repair | 6,353
Martinson et al.: J Urol 2013 Medicare, CMS

## Slide 26: Cost effectiveness
  BTX was more cost-effective in 2 years follow up
  BTX and SNM similar cost effectiveness in 5 years follow up
Siddiqui NY et al, Neurourol Urodyn 2010; 29 Suppl 1: S18
JAMA (2016; 316:1366-74).

## Slide 27: Treatment Options
“Conservative measures”
Pharmacotherapy
Neuromodulation
  Electrical or biological
Reconstruction
  Augmentation cystoplasty
  Urinary diversion
  Sling-lysis/urethrolysis

## Slide 28
Augmentation cystoplasty
Significant morbidity
Urinary diversion
Ileal conduit
Implanting ileum into bladder
Total cystectomy may be indicated with this
Complications
Detrusor myectomy (auto-augmentation)
Denervation, deafferentation, neurostimulation, neuromodulation
Augmentation cystoplasty / Urinary diversion

## Slide 29: The Last Resort…
ENLARGE THE BLADDER!
A big operation, but…it works!
Bowel segment to enlarge bladder
Lowers intravesical pressure
Increases capacity
>80% must catheterize

## Slide 30: Augmentation cystoplasty
Current indications
when conservative management, pharmacological methods and minimally invasive treatments have been unsuccessful and exhausted
High satisfaction rates

## Slide 32: complications

## Slide 33: Take home message

## Slide 34: Current treatments for Overactive Bladder
Behavioral therapies & Physical Therapy
Drugs, anitcholinergic
Intravesical Botox
Neuromodulation
  Sacral
  PTNS
Surgery
  Augmentaton cystoplasty
  Urinary diversion
Notes: [Overview of Voiding Dysfunction, Slides 4-11]
Treatment plan moves from non-invasive (behavioral), to minimally invasive (electrical stimulation), to highly invasive (surgery).
First choice of treatment should be least invasive with fewest potential complications.
Behavioral techniques include toileting assistance, bladder retraining, pelvic muscle rehabilitation, and dietary changes (AHCPR, 1996).
Behavioral techniques may decrease the frequency of urge incontinence when provided by knowledgeable health care providers, have no reported side effects, and do not limit future treatment options.
Pharmacologic treatments for urge incontinence and urgency-frequency can include anticholinergic agents, tricyclic antidepressants, antispasmodic agents and antimuscarinic agents.
Interventional therapies for urgency-frequency include instillation; vaginal and anal external stimulation and InterStim® test stimulation.
Surgery can include: InterStim® Therapy (sacral nerve stimulation); augmentation enterocystoplasty or urinary diversion; bladder dennervation.
NAFC – National Association for Continence (patient advocacy group).

## Slide 35: From a practical standpoint...
 | “Pros” | “Cons”
SNS | Battery life 5-7 years (rechargeable versions) No retention Global effects on pelvic floor | Implanted device Potential complications 2-staged surgery MRIs??? Not for some neurogenic bladder
BTX | Nothing implanted Local anesthesia in office Well-tolerated | Risk of retention Risk of UTI Durability of response

## Slide 36: SNM PTNS(TTNS)
Trail Phase 1-2 weeks 12 weeks (no trial time)
Involves surgery/revisions Non invasive (Outpatient)
Implantable No implant possible (small wire)
Takes a lot of expertise Simple to perform(Simple to perform)
Long term efficacy known Still a question
See patients 1x/year Every 3 weeks( every 3 month)
Widely accepted by insurers A work in progress
Expensive Comparatively cheap( overally cheaper)
Reimburses well Not so much
(compatible for MS patients)
(More MRI compatibility)
(very young &elderly)

## Slide 37: When to Use BoNT vs. SNM
Neurogenic
  Progressive
  MRI compatibility
Elderly
Patient willing to perform ISC
No coexisting bowel complaints
Failed SNM
Patient choice
Cost

## Slide 38: Take Home Messages
“OAB” multifactorial
Conservative measures first
Stepwise progression
Successful options available (Patients must be made aware)

## Slide 39: Any Questions?